| Date |  | Mon, Oct 19, 2009 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Instrument |  | VTAS |  | Experiment Number |  |  | 3 |  |
| Title |  | magnetic structure of multifoerric MnWO4/FeWO4 |  |  |  |  |  |  |
| Users |  | Feng Ye |  |  |  |  |  |  |
| Local Contact |  | Bryan Chakoumakos |  |  |  |  |  |  |
| Sample |  | FeWO4 and MnWO4 |  |  |  |  |  |  |
| Monochromator |  | PG002 |  | Analyzer |  | Pg002 |  |  |
| Fixed Energy |  | Ef=14.7 meV |  |  |  |  |  |  |
| Pre-monitor Beam Aperture: |  |  |  | Monitor Rate |  |  |  |  |
| Collimations | Pre-mono |  | Mono-Sample |  | Sample-Analyzer |  |  | Analyzer-Detector |
|  | 48 |  | 40 |  | 40 |  |  | 120 |
| Zero Offsets: New: Old: | M2 (2m) |  | S2 (2s) |  | A1 (A) |  |  | A2 (2A) |
|  | 0 |  | 0 |  | 0 |  |  | 0 |
| Calibration Scan #’s | Si powder |  |  |  | Incoherent |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  |  |  |

| Date |  | Mon, Oct 19, 2009 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Instrument |  | VTAS |  | Experiment Number |  |  | 3 |  |
| Title |  | magnetic structure of multifoerric MnWO4/FeWO4 |  |  |  |  |  |  |
| Users |  | Feng Ye |  |  |  |  |  |  |
| Local Contact |  | Bryan Chakoumakos |  |  |  |  |  |  |
| Sample |  | FeWO4 and MnWO4 |  |  |  |  |  |  |
| Monochromator |  | PG002 |  | Analyzer |  | Pg002 |  |  |
| Fixed Energy |  | Ef=14.7 meV |  |  |  |  |  |  |
| Pre-monitor Beam Aperture: |  |  |  | Monitor Rate |  |  |  |  |
| Collimations | Pre-mono |  | Mono-Sample |  | Sample-Analyzer |  |  | Analyzer-Detector |
|  | 48 |  | 40 |  | 40 |  |  | 120 |
| Zero Offsets: New: Old: | M2 (2m) |  | S2 (2s) |  | A1 (A) |  |  | A2 (2A) |
|  | 0 |  | 0 |  | 0 |  |  | 0 |
| Calibration Scan #’s | Si powder |  |  |  | Incoherent |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  |  |  |